## Slide 1: Rankine Cycle - Boilers

## Slide 2: Types of Boilers
Fire Tube / smoke tube
Water Tube

## Slide 3: Types of boilers

## Slide 4: Fire-Tube
A fire tube boiler setup directs heated gases into a number of tubes that run through a water-filled chamber. Steam is created by thermal induction which transfers the heat through the walls of the tubes. These types of boilers are ideal in operations where there is a large and constant steam demand. However, they are typically not suitable for high pressure applications.

## Slide 5: Fire Tube Boiler

## Slide 6: Fire Tube Boiler

## Slide 7: Fire tube advantages/disadvantages

## Slide 8: Water-Tube
Conversely, in a water tube boiler the water is inside the tubes and the heat source is on the outside. This ability for rapid heat transfer makes water-tube setups ideal for applications with variable load requirements and high pressure demands. Water tube boilers are available in significantly larger capacities than fire-tube style models.

## Slide 9: Water tube boilers

## Slide 10: Water tube boilers

## Slide 11: Packaged vs Field-Erected
smaller boilers are usually shipped right to your location, ready-made or requiring only minimal assembly. Most fire-tube and other small application boilers are installed this way. Larger water-tube boilers are usually field-erected, meaning they are constructed on-site since it would be prohibitive -- and in some cases impossible -- to bring the fully assembled boiler system into the room.

## Slide 12: Package boilers
Gas Fire package boiler

## Slide 13: Package boiler

## Slide 14: Stoker fired boilers

## Slide 15: Pulverized fuel boiler

## Slide 16: Waste heat boiler

## Slide 17: Fluidized bed boiler (FBC)

## Slide 19: Boiler Fuel Types
Coal
Gas and Oil
Biomass

## Slide 20: Combustion Types
Stoker - burn lump coal. Spreader stokers feed a continuous supply of coal onto the bed. A chain-grate stoker (sometimes called a traveling grate stoker) deposits the fuel in one area where it is then distributed by a moving grate.
Thermic Fluid -heaters use a petroleum-based fuel inside a closed system. The closed system can lead to greater efficiency, although it is not ideal for certain applications.
Fluidized Bed - The most common method used for burning solid fuels in boilers today, fluidized bed technology involves a bubbling hot mixture of water and material particles (like sand) in which fuel is suspended. This allows for rapid heat transfer and cleaner, more efficient operations.

## Slide 21: Rankine Cycle

## Slide 22: Build Boiler
Begin to work as a group to come up with a conceptual Design of the group Boiler Build