## Slide 1: Boiler Feedwater Systems
Feedwater Chemical Treatment – Feedwater Pumped to Boiler Drum
Technical II Spring 2018
  Itasca Community College
Development of a 21st Century Industrial Process Operations Program is supported by the National Science Foundation under Grant No. 1700558. Any opinions, findings, and conclusions or recommendations expressed on this site are those of the authors and do not necessarily reflect the views of the National Science Foundation.

## Slide 2: Feedwater Chemical Treatment
Boiler water must be treated in order to be proficient in producing steam.

## Slide 3: Feedwater Chemical Treatment
Boiler water is treated to prevent?
  Scaling
  Corrosion
  Foaming
  and primiNG

## Slide 4: Feedwater Chemical Treatment
Chemicals are put into boiler water through the chemical feed tank to keep the water within chemical range.
These chemicals are mostly oxygen scavengers and phosphates.

## Slide 5: Feedwater Chemical Treatment
An efficient and well-designed boiler feed water treatment system should be able to:
Efficiently treat boiler feed water and remove harmful impurities prior to entering the boiler
Promote internal boiler chemistry control
Maximize use of steam condensate
Control return-line corrosion
Avoid plant downtime and boiler failure
Prolong equipment service life

## Slide 6: Feedwater Chemical Treatment
What’s included in a basic boiler feed water treatment system?
Filtration and ultrafiltration
Ion exchange/softening
Membrane processes such as reverse osmosis and nanofiltration
Deaeration/degasification
Coagulation/chemical precipitation

## Slide 7: Feedwater Pumping
Boiler feedwater pump. A boiler feedwater pump is a specific type of pump used to pump feedwater into a steam boiler. ... Thesepumps are normally high pressure units that take suction from a condensate return system and can be of the centrifugal pump type or positive displacement type.

## Slide 8: Feedwater Pumping

## Slide 9: Feedwater Pumping

## Slide 10: Feedwater Pumping
Steam Driven Feedwater Pump

## Slide 11: Feedwater pre-heating
Feedwater Heat Exchanger

## Slide 12: Feedwater pre-heating
Shell and Tube heat Exchanger

## Slide 13: Feedwater Flow Control

## Slide 14: Feedwater Flow Control

## Slide 15: Rankine Cycle

## Slide 16: Simple Rankine Cycle Diagram

## Slide 17: Home Work Due Wed Jan 24th
Research and Draw a P&ID of a Boiler feed water system with a Feed water Heat Exchanger installed.
Do a Write up in your own words how the system you drew works