## Slide 1: Rankine Cycle Boiler Fuel and Air
Development of a 21st Century Industrial Process Operations Program is supported by the National Science Foundation under Grant No. 1700558. Any opinions, findings, and conclusions or recommendations expressed on this site are those of the authors and do not necessarily reflect the views of the National Science Foundation.

## Slide 2: Boiler Fuels
Coal.
Gas and Oil.
Biomass.
Stoker.
Thermic Fluid.
Fluidized Bed.

## Slide 3: Biomass

## Slide 4: Biomass Boilers
Flat Grate Stoker
• Manual Ash Removal Unit
• “Push Fuel to Ash” system
• Multiple variations and adaptable for hundreds of biomass fuels.
Under Feed Stoker
• Designed for low-content fuels
• Manual Ash Removal Unit
Traveling Grate Stoker
• Combination of hybrid boiler and stoker
• Compatible for an array of fuel sources
• Self-Cleaning

## Slide 5: Biomass Boilers
Reciprocating Grate Stoker
• Automated Ash Removal
• Best solid-fuel combustion production rates
• Multi-fuel design
Direct-Fire Burner
• STAG Unit (Stand Alone Gasifier)
• Automated Ash Removal
• Units available for oil heaters, roatary dryers, lumbar kilns, brick kilns
• Design for air temperature ranges from 200 – 2,000 degrees Fahrenheit

## Slide 6: Stoker Boiler

## Slide 7: Stoker
Cogeneration plants recover the "waste heat" that is otherwise discarded from conventional power generation to produce thermal energy. This energy is used to provide cooling or heating for industrial facilities, district energy systems, and commercial buildings.

## Slide 8: Stoker
Agricultural residue (bagasse, stover, rice hulls)
Bark
Biomass
Coal
Landfill gas
Natural gas
Oil

## Slide 9: Stoker Fuel
Paper mill sludge
Peat
Poultry litter
Process wastes (furniture manufacturing, construction & demolition)
Recycled paper facility sludge
Syrup from ethanol facilities with high alkali contents
Tire-derived fuels
Wood waste (forestry, pulp and paper)
And other fuels

## Slide 10: Thermic Fluid
Boilers are used to heat water & produce steam. This is commonly done by 2 ways:
Fire-tube: Hot flue gases (combustion gases) pass through tubes submerged in water. Water gets heated due to conduction through the fire-tubes.
Water-tube: Here,water flows through the tubes, which are heated by - (i) Radiation from hot flames, & (ii) Convection from hot flue gases.

## Slide 11: Thermic Fluid Heater
Thermic fluid heaters are used just to heat the water, not necessarily producing steam. Water is heated by passing hot thermic fluid in tubes submerged in water. This arrangement is similar to the fire-tube boiler described above,except that thermic fluid is passed through the tubes instead of flue gases.

## Slide 12: Boiler Airflow

## Slide 13: Boiler Airflow

## Slide 14: Boiler Airflow

## Slide 15: Boiler

## Slide 16: Boiler Design Project
Brainstorming
Prints
Ideas
Questions
Answers????????