## Slide 1
ACADs (08-006) Covered
Keywords
CFR policy, CFR violation, CFR enforcement
Description
Supporting Material
1.1.8.4.5 | 3.3.3.14 | 3.3.5.6.1 | 3.3.5.6.2 | 3.3.5.6.3 | 3.3.5.6.5 | 3.3.8.21 | 3.3.10.2
3.3.10.13 | 4.14.6.1 | 4.14.6.2 | 4.14.6.3 | 4.14.6.5 |  |  | 
Notes: <number>

## Slide 2
NE 127 – Codes, Standards, and Regulations
Key Parts of 10CFR (for the Nuclear Industry)
INSTRUCTOR: Chattanooga State CC
Notes: <number>

## Slide 3: NRC Enforcement Policy
Specified in 10CFR2: Rules of Practice for Domestic Licensing Procedures and Issuance of Orders
  Ensures compliance with NRC regulations and licensee conditions
  Requires prompt correction of licensee weaknesses
  Provides a deterrent to future non-compliance
  Encourages improvement of licensee performance – leads to enhanced degree of public health and safety
Notes: <number>

## Slide 4: Significance of Violations
Assessed based on the following:
  Actual safety consequence
    Such as actual release of radiation, damage to core, etc.
  Potential safety consequence
    Based on risk factors
  Impact on the regulatory process
    Failure to report or keep accurate and timely records
  Willfulness
    Indicates deliberate intent to violate or falsify
Notes: <number>

## Slide 5: Severity Level of Violations
Normally categorized in terms of four levels of severity to show their relative importance or significance
Severity Level I – most significant
  Levels I and II involve actual or high potential consequences on public health and safety
Severity Level IV – least significant
Notes: <number>

## Slide 6: Enforcement Actions
The NRC Commission may issue a:
  Non-Cited Violation
  Notice of Violation
  Civil Penalty
  Order
  Related Administrative Action (such as a Demand for Information)
Notes: <number>

## Slide 7: Non-Cited Violation
For issues of very low safety significance
Documented as violations in inspection reports to establish public records of the violations
Not cited in Notices of Violation which normally require written responses from licensees
Notes: <number>

## Slide 8: Notice of Violation
Served by the Commission
May require licensee submit a written statement to address all alleged violations including:
  Reasons for violation, or, if contested, basis for disputing the violation
  Corrective steps taken by licensee and results achieved
  Corrective steps which will be taken
  Date for full compliance
Available for viewing on www.nrc.gov
Notes: <number>

## Slide 9: Civil Penalties
Civil penalties may be imposed for up to $140,000 per day for each violation
Actual fee based on severity level of violation
If a violation is on-going, each day of the violation constitutes a separate violation
Notes: <number>

## Slide 10: Order
Proceeding to modify, suspend, or revoke a license
  Indicates alleged violations or potentially hazardous conditions and specifies proposed action
  Requires written response to the order under oath or affirmation
  Informs licensee of right to demand a hearing on all or part of the order
  Specifies the issues for the hearing
  State the effective date of the order – may be immediately effective if public health or safety of concern
  Llicensee must admit or deny each allegation
Notes: <number>

## Slide 11: Demand for Information
Issued by Commission to determine if an order should be issued
Licensee must reply in writing
Notes: <number>

## Slide 12: Key Parts of 10CFR
10CFR2
10CFR19
10CFR20
10CFR21
10CFR26
10CFR50
10CFR50, Appendix A
10CFR50, Appendix B
10CFR51
10CFR55
10CFR73
10CFR100
Notes: <number>

## Slide 13: Key Parts of 10CFR
10CFR2 - Rules Of Practice For Domestic Licensing Proceedings And Issuance Of Orders
  Deals with proceeding relating to all aspects of licensing issues, and the enforcement of licensing agreements
10CFR19 - Notices, Instructions And Reports To Workers: Inspection And Investigations
10CFR20 - Standards For Protection Against Radiation
  Controls the receipt, possession, use, transfer, and disposal of licensed material
Notes: <number>

## Slide 14: Key Parts of 10CFR
10CFR21 - Reporting Of Defects And Noncompliance
  Requires responsible officer of a nuclear faciity to immediately notify the Commission of any:
    Failure to comply with laws relating to substantial safety hazards
    Defects which could create a substantial safety hazard
10CFR26 - Fitness For Duty Programs
10CFR50 - Domestic Licensing Of Production And Utilization Facilities
  Requirements for obtaining an operating license or construction permit
Notes: <number>

## Slide 15: Key Parts of 10CFR
10CFR50, Appendix A - General Design Criteria For Nuclear Power Plants
  Establishes necessary design, fabrication, construction, testing, and performance requirements for structures, systems, and components important to safety
10CFR50, Appendix B - Quality Assurance Criteria For Nuclear Power Plants And Fuel Reprocessing Plants
  Q/A requirements for the design, construction, and operation of all structures, systems, and components included in a production or utilization facility
  More details: student reports on criterion I - XVIII
Notes: <number>

## Slide 16: Key Parts of 10CFR
10CFR51 - Environmental Protection Regulations For Domestic Licensing And Related Regulatory Functions
10CFR55 - Operators' Licenses
  Deals with the issuance and renewal of licenses for operators and senior operators at nuclear facilities
10CFR73 - Physical Protection Of Plants And Materials
  In other words, security
10CFR100 - Reactor Site Criteria
  Based on population zones, seismic activity, etc.
Notes: <number>

## Slide 17: Existing U.S. Nuclear Reactors (104)

## Slide 18: Proposed New U.S. Nuclear Reactors (28)

## Slide 19: Quality Assurance for Nuclear Reactors
Quality assurance (QA) comprises all planned and systematic actions that are necessary to provide adequate confidence that a structure, system, or component will perform satisfactorily in service
Attributes of a QA program include procedures, recordkeeping, inspections, corrective actions, and audits

## Slide 20: NRC Review of QA Programs
NRC reviews and inspects QA programs and their implementation
NRC's objective is to determine whether licensees and their contractors are meeting the agency's requirements
In particular, the NRC reviews the QA programs for commercial nuclear power plants
In addition, for operating nuclear power plants, the NRC reviews any changes that reduce previous commitments to the plant’s QA program

## Slide 21: NRC Regulatory Guides
Detail acceptable methods of design, fabrication, construction, operation, and quality assurance
Regulations are mandatory
Regulatory Guides and NUREGs mandatory only as committed to by the applicant (as stipulated in the construction permit or operating license)
Regulatory Guides set forth requirements for submitting environmental reports, safety analysis reports, etc.
  PSAR – Preliminary Safety Analysis Report (for construction permits)
  FSAR – Final Safety Analysis Report (for operating licenses)
  Regulatory Guide 1.70 describes the type of information to be submitted by the applicant for PSARs and FSARs

## Slide 22: NUREGs
What is a NUREG?
  Technical reports relative to the regulation of nuclear energy
NUREG-800 - Standard Review Plan For The Review Of Safety Analysis Reports For Nuclear Power Plants: LWR Edition
  Describes what the NRC expects to see in the SAR, including the applicable acceptance criteria
  Useful for auditors for identification of specific regulations and guideline documents that address each topic of a SAR
NUREG-1946 - Inservice Testing of Pumps and Valves, and Inservice Examination and Testing of Dynamic Restraints (Snubbers) at Nuclear Power
  References the ASME codes

## Slide 23: Institute of Nuclear Power Operations (INPO)
Established in 1979 following the Three Mile Island incident
Its mission is to “promote the highest levels of safety and reliability – to promote excellence – in the operation of commercial nuclear power plants” by:
  Establishing performance objectives, criteria and guidelines for the nuclear power industry
  Conducting regular detailed evaluations of nuclear power plants
  Providing assistance to help nuclear power plants continually improve their performance

## Slide 24: INPO Continued
INPO provides:
  Plant evaluations
  Training and accreditation (ACADs)
  Events analysis and information exchange
  Assistance
Not to be confused with:
  NEI (Nuclear Energy Institute) – lobbyist group for nuclear energy industry
  NUCP (National Uniform Curriculum Program) – program sponsored by NEI to provide a national certificate of accreditation for QA/QC program

## Slide 25: NRC Technical Training Center
Located in Chattanooga (off Marlin Road near the airport
NRC TTC Administration Offices are located on the second floor of a 6-story all glass exterior office building
Simulators are located on the first, second, third, and fourth floors

## Slide 26: Next Time…
ASME Boiler and Pressure Vessel Code
Notes: <number>