Nmap Lab Form

Name: 
Date:

- How many systems were found when performing the default scan in part 2? How long did the scan take?

The default scan should find 6 active hosts.

The default scan took 11.17 seconds on my system. It should be more than the time shown in the next question.

- How many systems were found when performing the ping scan in part 3? How long did the scan take?

The ping scan should find 6 active hosts.

The ping scan took 6.68 seconds on my system. It should be less than the time shown in the next question.

- How many systems were found when performing the fast scan in part 3? How long did the scan take?

The fast scan should find 6 active hosts.

The fast scan took 7.73 seconds on my system. The time should probably be in between the time taken for the default scan and the ping scan.

- What happened to the PLC system when you ran the intrusive plc-caution script?

The plc-caution script causes the PLC system to reboot.

- What is the IP address of the system that has the NetBIOS computer name OPC\x00?

sudo nmap -A 10.0.255.1-254

The OPC\x00 system’s IP address is 10.0.255.100

- What are the IP addresses of the systems running the Modbus protocol?

sudo nmap -p 502 10.0.255.1-254

10.0.255.100, 10.0.255.102