## Slide 1
ACADs (08-006) Covered
Keywords
Chemical and control volume, borated water, corrosion control, boron, water purification, mixed bed demineralizer, cation demineralizer, radioactive impurities demineralizer, radioactive sources, degassification, fission products, fuel defect contaminants.
Description
Supporting Material
1.1.6.2.2 | 1.1.6.3.1 | 1.1.6.3.2 | 1.1.6.3.3 | 1.1.6.3.4 | 1.1.6.3.8 | 4.2.7.26 | 4.6.5.5
4.6.5.6 | 4.6.5.7 | 4.6.5.8 | 4.6.5.10 |  |  |  | 
Notes: <number>

## Slide 2: PRIMARY WATER CHEMISTRY CHPRI-01
Ivelisse Ortiz-Hernandez, PhD.
<number>
<number>

## Slide 3: Objectives of reactor coolant chemistry
To assure primary system pressure boundary integrity is maintained.
To assure fuel-cladding integrity is maintained and the fuel performs as designed.
To minimize out-of-core radiation fields. To assure primary system pressure boundary integrity is maintained.
<number>
<number>

## Slide 4
The chemistry department is in charge of monitoring and control the reactor coolant system (RCS) parameter.
The chemistry department makes recommendations to the Operations group to ensure that proper adjustments and operational procedures to ensure proper water chemistry.
<number>
<number>

## Slide 5: Materials used for the Primary System-RCS
The pressurizer is constructed of carbon steel and is clad with stainless steel.
The reactor vessel is constructed of carbon steel and is clad with austenitic stainless steel.
The RCS piping is made of 304 stainless steel. The zircaloy fuel cladding in the core is the primary fission product barrier.
The RCS system is operated at the maximum rated power output.
<number>
<number>

## Slide 6: The 6 modes of system operation are defined as follows:
MODE | REACTIVITY CONDITION Keff | % RATED THERMAL POWER* | AVERAGE COOLANT TEMPERATURE
1. Power Operation | >0.99 | >5% | >350F
2. Start-UP | >0.99 | <5% | >350F
3. Hot Standby | <0.99 | 0 | >350F
4. Hot Shutdown | <0.99 | 0 | 350F >Tavg>200F
5. Cold Shutdown | <0.99 | 0 | 200F
6. Refueling ** | <0.95 | 0 | 140F
<number>
<number>
The fuel reactivity condition should not exceed 1. Spent fuel should have a reactivity condition of less than 0.95
Notes: <number>
Search for the definition of Reactivity condition

## Slide 7: Chemical and Control Volume System
The reactor coolant being let down to the system is cooled by the Regenerative Heat Exchanger and then depressurized by 3 orifices.
The reactor coolant is further cooled by Component Cooling Water (CCW) in the Letdown Heat Exchanger before it is directed to the demineralizers.
The water passes through two mixed bed demineralizers and a cation demineralizer which is used in an intermittent basis when needed to control the amount of lithium in the system.
  Rb-86, Mo-99, Cs-134, Cs-137 isotopes are also removed by the cation demineralizer.
Water leaving the demineralizers is passed through a filter and is then into the volume control tank.
The CVCS system is constructed of stainless steel.
During normal operations, two orifices are in service supplying 105-gpm letdown flow to the CVCS system.
<number>
<number>

## Slide 8: Reactor Make up
The operator sets the makeup system to deliver a specified boric acid concentration to the RCS system.
The borated water is mixed in the Boric Acid Blender, which is supplied from the in-service Boric Acid Tank (7000 to 7700 ppm boron) and the Reactor Makeup Water Storage tank (primary grade makeup water supplied through the Vacuum Degasifier from the DWST).
Automatic system adjust the amount of boric acid depending on reactor needs.
<number>
<number>

## Slide 9: Corrosion Control
Boric acid is introduced to control reactivity by absorbing neutrons.
Boron and Lithium are carefully coordinated to maintain an at temperature pH (pHt) between 7.0 and 7.3.
By adding boric acid more fuel can be loaded which allows for longer operating cycles.
<number>
<number>
5B10 + 0N1  2He4 + 3Li7

## Slide 10
Problem
  Boron in the presence of a neutron flux leads to the formation of tritium.
Boron concentration decreases as the activity of the fuel rod decreases.
Boric acid is a weak acid only slightly ionized and exists in different forms based mostly on system temperature as illustrated below:
<number>
<number>
  B(OH)3 + 2H2O  H3O+ + B(OH)4- Ka=11
  3B(OH)3  H3O+ + B3O3(OH)4- + H2O Ka =13
Where ka is the ionization constant.

## Slide 11
The pHt will typically be constant over an operating cycle except at the very beginning. At the beginning of the cycle, boron concentration is typically 800 - 1600 ppm.
In order to achieve a pHt = 7.3, lithium concentration would likely exceed 4 ppm.
Remenber: at higher pH (higher LiOH concentration) corrosion of zircaloy occurs and Pure Water Stress Cracking Corrosion (PWSCC) of Inconel.
<number>
<number>

## Slide 12
The boron on the surface of the fuel pellet allows the core to have more reactivity designed into it.
Due to the proximity of the boron to the uranium, the boron-10 is converted to boron-11 which has a very low cross section for neutron absorption.
The lithium concentration is maintained at a set level (approximately 3.5 ppm) until RCS boron concentration is approximately 1000 - 1200 ppm.
When the reactivity decreases, the amount of lithium is decreased in a proportional basis to boric acid.
During refueling operations, RCS boron concentration is > 2000 ppm.
<number>
<number>

## Slide 13
<number>
<number>

## Slide 14
Boron concentration is controlled using the Reactor Makeup System using a feed and bleed operation.
Lithium is removed by intermittent operation of the CVCS Cation Demineralizer.
Once the reactor is operating, lithium is produced by the neutron capture reaction shown previously for Boron-10.
Lithium hydroxide added to the coolant is 99.9 % Lithium-7.
  To diminish the formation of tritium from Li-6.
  3Li6 + 0N1  2He4 + 1H3
<number>
<number>

## Slide 15
Hydrogen is added to minimize the hydrolysis reaction.
Solubility of hydrogen increases with temperature.
The hydrogen overpressure is applied in the gas phase.
<number>
<number>

## Slide 16: Water Purification
Two mixed bed demineralizers
Cation demineralizer contains 20ft3 of hydrogen based resin.
The mixed bed demineralizers contain 30 ft3 of mixed resin.
The cation resin used is 99.7% Lithium-7 based and the anion resin is OH- based resin.
The anion fraction of the mixed bed in converted to the borate form when the bed is initially placed in service.
Each mixed bed demineralizer is designed for up to 120-gpm letdown flow.
<number>
<number>

## Slide 17
Each bed is designed to provide a decontamination factor (DF) of 10 even with 1% failed fuel.
This designed DF specification is for isotopes subject to ionic exchange excluding Rb-86, Mo-99, Cs-134, Cs-137.
The cation bed takes care of removing this isotopes.
Maximum flow through the cation demineralizer is 60 gpm.
The CVCS Cation Bed Demineralizer is only used for one fuel cycle to ensure that it has sufficient capacity to remove lithium during the entire cycle and is not required to be changed out during the cycle.
<number>
<number>

## Slide 18
In general, increasing flow rate through a demineralizer will decrease the time required for an ion to diffuse across the fluid film increasing the efficiency of the resin.
  If the contact area is increased (while maintaining optimum velocity) a better contact is obtained which results in improved separation. (Flowrate = area * velocity)
Higher system temperatures will result in a higher diffusion rate thereby increasing resin performance.
  To high of a temperature (at or above 140ºF) will decompose the resin
Higher contaminant concentrations will improve demineralizer efficiency.
When the contaminants are mostly insoluble, the resin ion exchange capability will have little effect on the particles and the bed will only remove them by mechanical filtration. This can cause DF values to decrease.
<number>
<number>

## Slide 19: For radioactive impurities
If the compound decays in the demineralizer and it decays into a gas, DF will be higher.
If the contaminant is a gas and decays into a solid DF will decrease.
<number>
<number>

## Slide 20: Purification Removal Constant
During refueling outages a crud burst is experienced and the CVCS system is used to clean up the RCS activity to acceptable levels.
To ensure the system performs as expected the purification half-life is used to develop a projected activity plot.
Actual RCS activities are plotted and the performance of the system can be evaluated.
<number>
<number>

## Slide 21: Purification Removal Constant
As previously discussed, the letdown flow through the mixed bed directly affects the efficiency of the system.
  Letdown flow- continuously bleeding of coolant from primary system to remove impurities.
Purification constant is calculated as follows:
 = Purification flow rate (lbs/min) / mass of circulating RCS (lbs)
A purification half-life can be determined as follows:
t ½ = 0.693/ 
The projected activity can also be calculated as follows:
Af = AI * e -t
<number>
<number>
Don’t worry about this slide

## Slide 22: Demineralizer Operation
When placing a newly loaded mixed bed demineralizer in service for the first time, it must be flushed to the RHUT (Recycling Hold-up Tank) and the effluent of the bed sampled for boron, chloride, fluoride and sulfate prior to placing it in service.
  For boron the concentration at inlet and outlet must be constant.
  Chloride, fluoride and sulfate must stay below the specified values.
If the values are not acceptable the flush must be repeated.
Using a new or previously used demineralizer will affect the boron concentration.
<number>
<number>

## Slide 23: Sources of Radioactive Activity
Tritium Sources
5B10 + 0N1  22He4 + 1H3
3Li6 + 0N1  2He4 + 1H3
1H2 (n, ) 1H3
<number>
<number>
Li-6 is minimized by using Li-7 to control the pH. (99.9 for chemical addition
or 99.7% for the resin.

## Slide 24: Nitrogen-16 & Fluorine-18 Production
Some of the significant oxygen activation equations are shown below:
8O16 (n,p) 7N16
N-16 beta decays to O-16 in 7.1 second
8O18 (p,n) 9F18
F-18 beta decays to O-18 in 109 minutes
<number>
<number>

## Slide 25: Hydrogen and Oxygen Control
Radiolysis reactions
2H2O 2H2 + O2
2H2O H2O2 + H2
Radiolysis reactions can happen in both directions.
To control the reaction from forming oxygen, excess hydrogen is added into the system.
Addition of hydrogen forces the recombination of hydrogen.
The warmer the gases the easier it will be for them to go into solution or leave the water.
<number>
<number>
Notes: <number>

## Slide 26: Degasification
Reactor coolant radioactive gas buildup is normally controlled by the waste gas system and the VCT.
Radioactive gasses are stripped out of the reactor coolant by the nozzle in the VCT spray.
These gasses are then moved to the Waste Gas System by a continuous purge of hydrogen through the VCT to the Waste Gas System.
The gas is put through a recombiner to reduce the hydrogen and stores the gas in one of 6 normal service Waste Gas Decay Tanks.
During refueling outages, the RCS will be shutdown, depressurized, and opened to atmosphere. The hydrogen must be removed to prevent the formation of an explosive atmosphere when the system is opened.
  Hydrogen is replaced with Nitrogen and the normal purge of the VCT is increased. To remove hydrogen, hydrogen peroxide is added.
<number>
<number>

## Slide 27: Activation Impurities
Example of activation of impurities
  Na23 (n,) 11Na24, Na-24 beta decays in 15 hours
  74W186 (n,) 74W187, Tungsten-187 beta decays in 23.9 hours.
  16S32 (n,p) 15P32, P-32 beta decays in 14 days
  18Ar40 (n,) 18Ar41, Ar-41 beta decays in 110 minutes
The amount of these impurities is normally very small.
<number>
<number>
Notes: 74W186 (n,) 74W187, Tungsten-187 beta decays in 23.9 hours.
16S32 (n,p) 15P32, P-32 beta decays in 14 days
18Ar40 (n,) 18Ar41, Ar-41 beta decays in 110 minutes
<number>

## Slide 28: Corrosion Product Activation
Corrosion control depends on a stable corrosion film forming in the surface of the metals.
When the plant is started up following an outage that stable environment has not been established and corrosion products are released from the plant surfaces and are carried throughout the system.
Corrosion products attach to warmer surface (reactor core) and become activated.
Activation products of Cobalt, Chromium, Iron, and Nickel are the predominant contributors to RCS activity.
<number>
<number>

## Slide 29: Corrosion Product Activation
24Cr 50 (n,) 24Cr51, Cr-51 decays by electron capture and has a half life of 28 days.
28Ni 58 (n,p) 27Co58 , Co-58 beta decays and has a half life of 71 days.
27Co59 (n,) 27Co60, Co-60 beta decays and has a half life of 5.2 years.
26Fe58 (n,) 26Fe59, Fe-59 beta decays and has a half life of 46 days.
<number>

## Slide 30: Fission Products
  92U235 (n,f) z1LA1 + z2HA2 + 0n1
  L - is the light fission product
  H - is the heavy fission product
  n - ~ 2.5 neutrons per fission event
  The heavy fission product will have a mass between 125 and 155 while the light fission fragment will have a mass between 80 and 110.
There can be over 80 possible fission fragment combinations for any given event.
<number>

## Slide 31: Fission Products
Fission Product Gasses Soluble Fission Products
Xe-133 Rb-88
Xe-133m Cs-134
Xe-135 Cs-136
Xe-135m Cs-137
Kr-85 Cs-138
Kr-85m Ba-139
Kr-87 Ba-140
Kr-88 I-131
I-132
I-133
I-134
I-135
Sr-89
Sr-90
<number>

## Slide 32: Fission Products
Fission products enter the RCS from two sources; tramp uranium sources and defects in the cladding.
  Tramp uranium is the term given to uranium contamination found in or on the zircaloy cladding in the core (approx. 1ppm that comes in zirconium).
  If the fission occurs close enough to the cladding surface, the fission products will be introduced into the RCS system.
  Not dependent on hold up, just on flux.
<number>

## Slide 33: Fission Products
The second source of fission products found in the RCS is from defects in the fuel cladding.
  Sometimes fuel is received from the vendor with defects that were not removed in the manufacturing process.
  Corrosion and wear damage (like zirc-hydriding).
  Fission products entering the coolant from this process are subject to holdup and decay before they are released into the system.
  Holdup means the fission products produced in the core cannot easily migrate to and escape from the defect.
  If a defect is large enough it will release small particles of fuel pellets into the RCS.
<number>

## Slide 34: Fuel Integrity Monitoring
Fission product gas activities can be one of the first indications that a fuel defect exists.
High I-131 results are an indication of leaking fuel rods.
The ratio of I-131/133 is also a good indicator of the number of leaking rods and the relative size of the defect.
I-134 is a good indicator of the level of tramp uranium contamination in the cladding.
  The decay of tramp uranium does not experience hold up so it will not decay significantly before reaching the RCS system.
The ratio of Cs-137/134 can provide an indication of the age of the leaking assemblies.
The levels are tested daily.
Samples are also collected during transient periods with a variation in power of more than 15% in 1 hour.
<number>

## Slide 35
Fission product gas activities and the relationship between the fission product gases can indicate the presence of a fuel defect.
Normally we look at the ratios as an indicator.
When power is increased there is no spike in the ratios as will be seen with leaking rods.
The ratios will stay about the same and the iodine isotopic results will increase and decrease with change in the steady state power level.
<number>

## Slide 36
<number>

## Slide 37
Defect is present at the point where a spike in the I-131 levels took place.
The I-134 value at the beginning of a fuel cycle should be lower than the value seen at the end of the previous cycle.
  Good defect free fuel was loaded.
  The I-134 value should approximately double over a fuel cycle.
  If I-134 more than doubles, a leak has developed or an existing leak has gotten worse.
  A jump in I-134 in the middle of a cycle is an indication that a leak has gotten bad enough to expose fuel to the RCS.
  Small defect, no effect in the concentration of I-134.
A ratio of I-131 to I-133 between 0.2 and 0.5 will be seen when there are larger defects.
<number>

## Slide 38
A ratio of 0.6 to 2.0 is an indication that the defect is larger allowing more I-131 to reach the RCS but the I-133 is still decaying in the defect.
The I-131/I-133 ratio will also spike during power transients.
  The pressure buildup will cause the fission products to be forced out of the defect.
  Larger defects produce smaller spikes.
<number>

## Slide 39: Before and After a Fuel Defect
<number>

## Slide 40: Fission products
Also note that the Xe-133 activity is now higher than the Xe-135 activity (with a defect). This is an indication that the defect is relatively small and tight.
  Xe-135 decays before reaching the RCS system.
  Larger defects results in greater radioactivity and a greater activity of short lived isotopes.
<number>

## Slide 41: Fission Products
Because of their longer half-lives the cesium isotopic results can also provide and indication of the age of the leaking fuel.
Older leaking fuel assemblies will exhibit higher cesium analysis results after the reactor is shutdown.
Iodine isotopic samples pulled from the RCS are typically allowed to sit for at least 3 hours before counting.
  To allow interfering isotopes to decay.
  The amount of iodine produced is proportional to the power level (data must be normalized)
<number>

## Slide 42: SOER 90-2 NUCLEAR FUEL DEFECTS
SOER 90-2 provides an overview of some significant operating experiences related to operation with failed fuel.
SAP-154, Failed Fuel Action Plan contains instructions for responding to various levels of fuel failures.
<number>

## Slide 43: Parameters Monitored
pH is maintained 7.0 to 7.3 to minimize corrosion of plant components.
  Measured pH results must be carefully evaluated using the tables contained in CP-614.
  The tables are used to ensure the measured pH correlates to the boron and lithium concentrations in the RCS.
Conductivity is performed as a quick check for abnormalities in the RCS.
  CP-614 is used to compare with the expected conductivity with the presence of boron and lithium.
  The conductivity analysis is performed using a dip-cell and a resistance bridge.
<number>

## Slide 44: Parameters Monitored
Boron is conducted to provide Operations with information that allows them to evaluate the reactivity of the reactor and track the concentration against predicted values.
  Boron concentration decreases over time as reactivity of the core decreases.
  Correlations are developed with the Boron and lithium concentration to ensure that pHt is between the acceptable range.
  Boron analysis is an acid base titration performed using a computer-aided titrator.
<number>

## Slide 45: Parameters Monitored
Lithium is used to control RCS pH.
  Cation exchange resin is used to ensure that the concentration of lithium is not to high (to avoid the corrosion of zircaloy).
  Analyzed using an Atomic Absorption Spectrophotometer.
Chloride concentration is controlled to minimize chloride stress corrosion cracking.
  Chloride analysis is performed on the Ion Chromatography unit.
<number>

## Slide 46: Parameters Monitored
Fluoride concentration is also controlled to minimize the potential for stress corrosion cracking of austenitic stainless steel.
  Fluorides can also be introduced with makeup water, welding on system piping or introduction of fluorocarbon plastics such as Teflon™.
  Fluorides are measured using the Ion Chromatography unit.
Sulfate concentration is monitored and controlled to prevent certain sulfate related corrosion mechanisms. They can cause stress cracking corrosion.
  Sulfates can be introduced with makeup water or can be an indication of resin release from the CVCS system.
<number>
Notes: <number>

## Slide 47: Parameters Monitored
Oxygen is prevented in the RCS during normal operations. Minimizing oxygen will prevent the occurrence of stress corrosion cracking and will help to minimize general corrosion.
  Controlled by introducing hydrogen.
Hydrogen is added the VCT to control RCS oxygen.
  Dissolved hydrogen is tested to ensure that the level is between 25 to 50 cc/kgm.
  Can be checked with gas chromatography.
<number>

## Slide 48: Parameters Monitored
Total Suspended Solids control in the RCS is important because of crud deposition issues.
  Crud deposition in the core can affect heat transfer properties, corrosion can be accelerated, and increase radiation levels (crud becomes activated).
  TSS is performed by visual comparison of a filter to a known standard.
<number>

## Slide 49: Parameters Monitored
Silica, Aluminum, Calcium, and Magnesium are monitored and controlled to prevent fuel deposition.
  This metals have a preference to deposit in the reactor core increasing the potential for corrosion of the zircaloy cladding.
  These contaminants are typically introduced with the makeup water or during refueling operations.
  A limit of 1.0 ppm is set for silica in the RCS but the fuel vendor has determined that operating up to one month with elevated silica will not cause any damage to the cladding.
  Aluminum, calcium and magnesium are tested with AA and silica is tested with a spectrophotometer.
<number>

## Slide 50: Parameters Monitored
Degassed Gross Activity is an overall indicator of activity problems in the RCS.
  Indicator of F-18 activity and the presence of activated contaminants.
  The DGA analysis is performed by evaporating a sample and counting it on a beta counting system.
Dose Equivalent Iodine is a measure of fission product activity in the RCS.
  The isotopic results are multiplied by a thyroid dose equivalence factor to determine DEI.
<number>

## Slide 51
Tritium is the highest activity found in the RCS under normal operating conditions without a fuel element defect.
  Tritium activity can be trended as an indicator of RCS system leakage.
  Can be used to determine primary to secondary system leakage.
<number>

## Slide 52
E-bar is the average (weighted in proportion to the concentration of each radionuclide in the reactor coolant at the time of sampling) of the sum of the average beta and gamma energies per disintegration (in MeV) for isotopes, other than iodines, with half lives greater than 15 minutes, making up at least 95% of the total non-iodine activity in the coolant.
  used for setting the limit on the DGA analysis (100/E-bar)
<number>

## Slide 53: Chemical Additions
Hydrogen
  The VCT gas space is filled with hydrogen gas during normal operations and is normally maintained at ≈18 psig.
  A gas concentration of greater than 4% hydrogen and 2% oxygen represents an explosive mixture.
  Avoid flames and sparks in areas where hydrogen is being used and explosive mixtures are possible.
<number>

## Slide 54: Chemical Additions
Nitrogen
  Added in place of hydrogen during fuel outages.
  It is not hazardous.
Lithium hydroxide
  Added for pH control.
  LiOH is added to the chemical addition tank in the Reactor Makeup Water System and is then pumped in to the RCS using one of the Reactor Makeup Water Pumps IAW SOP-102.
  Very corrosive (use eye protection, apron, gloves).
  Chemical mixing should be performed in a fume hood or well-ventilated area.
<number>

## Slide 55: Chemical Additions
Boric Acid is added by Operations using the Reactor Makeup Water System.
  Weak acid. Use eye protection, gloves and apron while handling.
  Use in a well ventilated area.
  Fatal if ingested in large amounts.
Hydrazine is an oxygen scavenger. More effective at temperatures below 190 to 195°F. Can also be used at temperatures of up to 250 with approval from the chemist.
  Excessive amounts of hydrazine may cause the CVCS demineralizers to release chlorides and other anions that may be present on the anion resin portion the CVCS Mixed Bed Demineralizers due to elevated ammonia concentrations above 1 ppm.
  Demineralizers are bypassed prior to the addition.
<number>

## Slide 56: Chemical Additions
Hydrazine
  It has no flash point or auto-ignition temperature but the heat of its reaction with strong oxidizers, strong acids, or organics can result in fires.
  Use in a well ventilated area and avoid contact with the skin.
Hydrogen Peroxide is added to the RCS for hydrogen removal and oxygenation when the system is <180 F with the Pressurizer solid.
  Gases are sampled prior to addition to ensure that an explosive mixture is not present.
  Hydrogen Peroxide additions will cause a crud release in the RCS system.
<number>
Notes: <number>

## Slide 57: Contaminants
Contaminants such as resin, oil, and organic material can accidentally be introduced into the RCS. They must be identified and the source eliminated as soon as practical to prevent potential damage to the fuel and system components.
Resin intrusion from the CVCS system can result in the release of halogens or sulfates into the reactor coolant.
The organic sulfate is not detected with normal sulfate tests. The sulfate is released after the organic sulfate reaches the reactor core.
Other sources of contaminants include impurities in the chemicals added.
<number>